## FY22-26
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 100 LAURELWOOD (29 UNITS)
Interior/Exterior Comp Mod |  | 80000 | 80000 | 80266
Appliances and Heaters |  |  |  | 25000
Plumbing & Drain Lines |  |  |  | 9000
Gutters |  |  |  |  | 30000
Siding |  |  |  |  | 80000
Generator |  |  |  |  | 40000
Trees |  |  |  |  | 10000
Parking lot |  |  |  | 15000
Walks, Slabs, & Driveways ( Includes ADA Site work) |  |  | 40000 | 60307
Exterior Paint |  | 120000
Security Measures- cameras, alarm, gates | 40000
AMP 100 LAURELWOOD SUB TOTAL | 40000 | 200000 | 120000 | 189573 | 160000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 200 McKENZIE VILLAGE (172 UNITS)
Roofs/Gutters | 40000 |  | 40000 |  | 100000
Kitchen Upgrades |  |  |  | 40000
Plumbing and Storm Drain |  |  |  | 20000
Abatements/Remediation |  | 20000 |  | 20000
Concrete (includes ADA site work) |  |  | 30000
Bath Fans |  |  |  | 30000
Fencing |  |  |  | 10000
ADA Units |  |  |  |  | 80000
Community Room Remodel | 15000
Tub Surrounds |  | 112000
Appliances- Stoves/Fridges/Range Hoods |  |  |  | 30000
Fairview Parking Lot |  |  |  | 10000
Windows (as needed) |  |  |  | 10000
Doors |  |  | 40000
Trees |  |  |  | 10000
AMP 200 McKENZIE VILLAGE SUB TOTAL | 55000 | 132000 | 110000 | 180000 | 180000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 200 PENGRA COURT (22 UNITS)
Trees |  |  |  | 20000
Fence |  |  |  | 30000
Water Heaters (50 gal low boys) |  | 29000
Kitchen Upgrades- Including appliances |  | 225000 | 200000
Interior Mods |  |  |  | 50000
Irrigation and Plumbing |  |  |  | 50446
Security Measures- cameras, alarm, gates | 50000
Parking Lot |  |  |  |  | 25000
Concrete |  |  | 40000 |  | 30000
AMP 200 PENGRA COURT SUB TOTAL | 50000 | 254000 | 240000 | 150446 | 55000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 300 MAPLEWOOD MEADOWS (38 UNITS)
Community Room Reroof & Gutters |  | 40000
Trees |  |  |  |  | 20000
Fence |  |  |  |  | 50000
Tub Faucets |  |  |  |  | 25000
Security Measures- cameras, alarm, gates | 45000
Concrete Walks & Slabs |  |  |  | 20000
Parking Lot |  |  |  |  | 10000
AMP 300 MAPLEWOOD MEADOWS SUB TOTAL | 45000 | 40000 | 0 | 20000 | 105000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 400 PARKVIEW TERRACE (150 UNITS)
Abatements/Remediation |  |  | 10000
Window Replacement w/Exterior Paint | 415000
Water Heaters/Boilers/Heating System | 85000
Elevator Upgrades/Repair |  |  |  | 50000
Plumbing and Storm Drains |  |  |  | 30000
Generator |  |  |  | 60000
Parking Lot |  | 10000
Remodel Community Room, Lobby, Lobby Restrooms | 40000
Trees |  |  |  |  | 10000
Security Measures- cameras, alarm, gates | 51000
Concrete Walks and Slabs |  | 45000 | 40000
AMP 400 PARKVIEW TERRACE SUB TOTAL | 591000 | 55000 | 50000 | 140000 | 10000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 500 LINDEBORG PLACE (40 UNITS)
Plumbing and Storm Drains |  |  |  | 20000
Parking Lot |  |  |  | 15000
Roof/Gutters |  |  | 50000
Ductless Heat Pumps |  |  |  |  | 180000
Community Room Remodel | 15000
Trees |  |  |  |  | 10000
Concrete Walks & Slabs |  |  |  | 70000
Elevator Upgrades |  |  |  |  | 30000
Generator |  |  |  | 45000
Bath Upgrades |  | 200000 | 200000
Security Measures- cameras, alarm, gates | 45000
AMP 500 LINDEBORG PLACE SUB TOTAL | 60000 | 200000 | 250000 | 150000 | 220000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 500 VENETA VILLA (30 UNITS)
Plumbing and Storm Drain | 20000
Roofs/Gutters |  | 20000
Concrete Walks and Slabs |  |  | 63073 | 50000 | 60000
Exterior Doors |  |  |  |  | 38000
Trees |  |  |  | 20000
Ext Paint |  |  |  |  | 50000
ADA Site Work/Pave Gravel Area/Dumpster Pad | 50000
Parking Lot |  |  | 15000
Security Measures- cameras, alarm, gates | 40000
AMP 500 VENETA VILLA SUB TOTAL | 110000 | 20000 | 78073 | 70000 | 148000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 500 VENETA SCATTERED SITES (20 UNITS)
Comp Mods |  |  | 50000
Concrete Walks and Slabs |  |  |  | 49000
Roofs/Gutters |  |  |  | 20000
Plumbing |  |  | 14000
Trees |  |  |  | 20000
Driveways/Parking Lots |  | 50000
Ext Paint |  | 50000 | 50000
AMP 500 VENETA VILLA SCATTERED SITES SUB TOTAL | 0 | 100000 | 114000 | 89000 | 0
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 600 CRESVIEW VILLA (34 UNITS)
Abatements |  |  | 10000
Concrete Walks and Slab |  |  | 40446
Parking Lot |  | 20000
Community Room/Office Remodel | 40000
Ductless Heat Pumps |  |  |  |  | 183000
Trees |  |  |  |  | 10000
Rear ADA Exit |  |  |  | 20000
Security Measures- cameras, alarm, gates | 40019
Generator |  |  |  | 40000
Plumbing and Storm Drains |  |  |  | 10000
AMP 600 CRESVIEW VILLA SUB TOTAL | 80019 | 20000 | 50446 | 70000 | 193000
WORK TO BE DONE | FY23 | FY24 | FY25 | FY26 | FY27
AMP 600 RIVERVIEW TERRACE (60 UNITS)
Seismic Upgrade |  |  |  |  | 40000
Concrete Walks and Slab |  |  |  | 40000
Exterior Bollard Lights |  |  |  | 27000
Auto Doors in lobby | 15000
Trees |  |  |  |  | 10000
Generator |  | 45000
Elevator Repair/Upgrade |  |  |  | 20000 | 40019
Flooring in common areas |  | 40019
Security Measures- cameras, alarm, gates | 50000
Abatements/Remediation |  | 40000
AMP 600 RIVERVIEW TERRACE SUB TOTAL | 65000 | 125019 | 0 | 87000 | 90019
Work Item Sub Totals | 1096019 | 1146019 | 1012519 | 1146019 | 1161019
OTHER | FY23 | FY24 | FY25 | FY26 | FY27
1406- Operations | 300000 | 250000 | 300000 | 250000 | 250000
1408- Management Improvements | 35000 | 35000 | 35000 | 35000 | 35000
1410- Grant Administration Fee (10%) | 168000 | 168000 | 168000 | 168000 | 168000
1480- Grant Audit | 2000 | 2000 | 2000 | 2000 | 2000
1480- Architect | 20000 | 20000 | 20000 | 20000 | 20000
1480 Fees and Sundries | 10000 | 10000 | 10000 | 10000 | 10000
1480 GPNA | 1500 | 1500 | 35000 | 1500 | 1500
1480- Cap Fund Vehicle Purchase | 0 | 0 | 50000 | 0 | 0
1480- Relocation | 5000 | 5000 | 5000 | 5000 | 5000
1480- Contingency (3%) | 45000 | 45000 | 45000 | 45000 | 30000
"Other" Sub Totals | 586500 | 536500 | 670000 | 536500 | 521500
| FY23 | FY24 | FY25 | FY26 | FY27
Work Items Sub total | 1096019 | 1146019 | 1012519 | 1146019 | 1161019
Others Sub Total | 586500 | 536500 | 670000 | 536500 | 521500
Total | 1682519 | 1682519 | 1682519 | 1682519 | 1682519
Left to spend | 0 | 0 | 0 | 0 | 0
Note on A73: Jared Young: Eric- Comfort Flow Inst 2008, 20 yr life exp Recommends replace with AERCO Boiler System. Water Heaters were installed incorrectly. They need to be off the floor. Contact Don Brett for another quote, Damion Hydro.

## Rank
2022-2026 CAP Projects- Rankings
Site | Project | Rank | I.C.E.
Laurelwood | Roofs/Gutters Phase 2 |  | $100k
Laurelwood | Walks, Slabs, & Driveways ( Includes ADA Site work)
Laurelwood | Interior/Exterior Comp Mod
Laurelwood | Exterior Paint
Laurelwood | Parking lot |  | $8k
Laurelwood | Appliances and Heaters
Laurelwood | Security Cameras/System
McVillage | Roofs/Gutters
McVillage | Plumbing and Storm Drain
McVillage | Tub Surrounds
McVillage | Abatements/Remediation
McVillage | Appliances- Stoves/Fridges/Range Hoods
McVillage | Kitchen Upgrades
McVillage | Fairview Parking Lot |  | $15k
McVillage | Bath Fans
McVillage | Doors
McVillage | Walks, Slabs, & Driveways ( Includes ADA Site work)
McVillage | Trees
McVillage | Windows (as needed)
Pengra | Walks, Slabs, & Driveways ( Includes ADA Site work)
Pengra | Fence
Pengra | Trees
Pengra | Irrigation and Plumbing
Pengra | Water Heaters (50 gal low boys)
Pengra | Kitchen Upgrades- Including appliances
Pengra | Interior Mods
Pengra | Parking Lot |  | $15k
Maplewood | Parking Lot (Urgent, missing speed bump) |  | $45k
Maplewood | ADA Site Work
Maplewood | Playground
Parkview | Ext Paint combine with deck coating
Parkview | Mailboxes |  | $70k
Parkview | Parking Lot |  | $20k
Parkview | Remodel Lobby Restrooms (combine w/mailboxes?)
Parkview | Concrete Walks & Slabs
Parkview | Plumbing and Storm Drains
Parkview | Abatements/Remediation
Parkview | Security Measures- cameras, alarm, gates
Site | Project | Rank | I.C.E.
Lindeborg | Elevator Upgrades
Lindeborg | Plumbing and Storm Drains
Lindeborg | Bath Upgrades
Lindeborg | Roof/Gutters
Lindeborg | Parking Lot |  | $8k
Lindeborg | Security System
Veneta Villa | Concrete Walks and Slabs
Veneta Villa | ADA Site Work/Pave Gravel Area/Dumpster Pad
Veneta Villa | Trees
Veneta Villa | Plumbing and Storm Drain
Veneta Villa | Roofs/Gutters
Veneta Villa | Parking Lot |  | $8k
Veneta Villa | Ext Paint
Veneta Villa | Security System
Veneta SS | Trees
Veneta SS | Driveways/Parking Lots
Veneta SS | Ext Paint
Veneta SS | Concrete Walks and Slabs
Veneta SS | Comp Mods
Veneta SS | Roofs/Gutters
Veneta SS | Plumbing and Storm Drains
Cresview | Concrete Walks and Slab
Cresview | Ext Doors
Cresview | Office Remodel
Cresview | Plumbing and Storm Drains
Cresview | Parking Lot |  | $15k
Cresview | Abatements
Riverview | Seismic Upgrade
Riverview | Unit Comp Mods
Riverview | Abatements/Remediation
Riverview | Concrete Walks and Slab